## Sheet1
2002 National Electrical Code Index
And Cross-reference to Understanding the NEC Textbook
| NEC | Mike Holt* | Book*
| Section Number | Book Volume | Page
*Understanding the National Electrical Code, http://mikeholt.com
Agricultural Buildings
Definitions | 547.2 | 2 | 77
Equipotential Planes and Bonding of Equipotential Planes | 547.1 | 2 | 76
Scope | 547.1 | 2 | 77
Wiring Methods | 547.5 | 2 | 77
Air-Conditioning and Refrigeration Equipment
Branch-Circuit Requirements | 440.62 | 1 | 410
Conductor Size – One Motor-Compressor | 440.32 | 1 | 410
Conductor Size - Several Motor-Compressors | 440.33 | 1 | 410
Cord-and-Plug–Connected Equipment | 440.13 | 1 | 408
Definitions | 440.2 | 1 | 408
Disconnecting Means | 440.63 | 1 | 411
General | 440.21 | 1 | 409
General | 440.6 | 1 | 410
Location | 440.14 | 1 | 408
Other Articles | 440.3 | 1 | 408
Scope | 440.1 | 1 | 408
Short-Circuit and Ground-Fault Protection Device Size | 440.22 | 1 | 409
Supply Cord | 440.64 | 1 | 411
Aircraft Hangers
Classification of Locations | 513.3 | 2 | 50
Grounded and Grounding Requirements | 513.16 | 2 | 51
Scope | 513.1 | 2 | 50
Sealing | 513.9 | 2 | 51
Wiring and Equipment Embedded, Under Slab, or Under Ground | 513.8 | 2 | 50
Wiring and Equipment in Class I Locations | 513.4 | 2 | 50
Wiring Not Within Class I Locations | 513.7 | 2 | 50
Appliances
Branch-Circuit Rating | 422.1 | 1 | 386
Central Vacuum | 422.15 | 1 | 387
Cord-and-Plug–Connected Appliance Disconnect | 422.33 | 1 | 389
Disconnecting Means | 422.3 | 1 | 389
Flexible Cords | 422.16 | 1 | 387
Fossil Fuel Heating Equipment (Furnaces) | 422.12 | 1 | 387
Other Articles | 422.3 | 1 | 386
Overcurrent Protection | 422.11 | 1 | 386
Paddle Fans | 422.18 | 1 | 388
Permanently Connected Appliance Disconnect | 422.31 | 1 | 389
Scope | 422.1 | 1 | 386
Unit Switch as Disconnect | 422.34 | 1 | 390
Water Heaters | 422.13 | 1 | 387
Armored Cable (Type AC)
Bends | 320.24 | 1 | 270
Boxes and Fittings | 320.4 | 1 | 271
Conductor Ampacities | 320.8 | 1 | 271
Construction | 320.1 | 1 | 271
Definition | 320.2 | 1 | 269
Exposed Work | 320.15 | 1 | 269
Grounding | 320.108 | 1 | 272
In Accessible Attics or Roof Spaces | 320.23 | 1 | 270
Scope | 320.1 | 1 | 269
Secured and Supported | 320.3 | 1 | 270
Through or Parallel to Framing Members | 320.17 | 1 | 270
Uses Not Permitted | 320.12 | 1 | 269
Uses Permitted | 320.1 | 1 | 269
Audio Signal and Amplification Equipment
Access to Electrical Equipment Behind Panels Designed to Allow Access | 640.5 | 2 | 110
Audio Systems Near Bodies of Water | 640.1 | 2 | 111
Definitions | 640.2 | 2 | 109
Grounding | 640.7 | 2 | 110
Locations and Other Articles | 640.3 | 2 | 109
Loudspeakers in Fire-Resistance-Rated Partitions, Walls, and Ceilings | 640.25 | 2 | 112
Mechanical Execution of Work | 640.6 | 2 | 110
Protection of Electrical Equipment | 640.4 | 2 | 110
Raceway Fill | 640.23 | 2 | 112
Scope | 640.1 | 2 | 109
Use of Flexible Cords and Cables | 640.21 | 2 | 111
Wiring Methods | 640.9 | 2 | 111
Wiring of Equipment Racks | 640.22 | 2 | 112
Branch Circuits
Arc-Fault Circuit-Interrupter (AFCI) Protection | 210.12 | 1 | 60
Branch Circuit Voltage Limitation | 210.6 | 1 | 52
Branch Circuits Requirements | 210.11 | 1 | 58
Branch-Circuit Rating | 210.3 | 1 | 51
Common Area Branch Circuits | 210.25 | 1 | 68
Conductor Sizing | 210.19 | 1 | 63
Dwelling Unit Receptacle Outlet Requirements | 210.52 | 1 | 69
General | 210.5 | 1 | 68
Ground-Fault Circuit-Interrupter Protection for Personnel | 210.8 | 1 | 53
Heating Air Conditioning and Refrigeration Equipment | 210.63 | 1 | 73
Lighting Outlets Requirements | 210.7 | 1 | 73
Multiwire Branch Circuits | 210.4 | 1 | 51
Other Articles | 210.2 | 1 | 51
Outlet Device Rating | 210.21 | 1 | 67
Overcurrent Protection | 210.2 | 1 | 67
Permissible Loads | 210.23 | 1 | 68
Receptacles | 210.7 | 1 | 53
Receptacles in Guest Room for Hotels and Motels | 210.6 | 1 | 72
Scope | 210.1 | 1 | 51
Cabinets, Cutout Boxes, and Meter Enclosures
Cables | 312.5 | 1 | 254
Damp, Wet, or Hazardous (Classified) Locations | 312.2 | 1 | 254
Installed in Walls | 312.3 | 1 | 254
Scope | 312.1 | 1 | 254
Used for Raceway and Splices | 312.8 | 1 | 255
Cable Trays
Definition | 392.2 | 1 | 342
Installation | 392.6 | 1 | 342
Scope | 392.1 | 1 | 342
Uses Not Permitted | 392.4 | 1 | 342
Uses Permitted | 392.3 | 1 | 342
Capacitors
Conductors | 460.8 | 1 | 419
Enclosing and Guarding | 460.2 | 1 | 419
Rating or Setting of Motor Overload Device | 460.9 | 1 | 419
Scope | 460.1 | 1 | 419
Carnivals, Circuses, Fairs, and Similar Events
GFCI Protection for Personnel | 525.23 | 2 | 68
Grounding Conductor Continuity Assurance | 525.32 | 2 | 68
Other Articles | 525.3 | 2 | 67
Overhead Conductor Clearances | 525.5 | 2 | 67
Portable Distribution or Termination Boxes | 525.22 | 2 | 68
Power Sources | 525.1 | 2 | 68
Protection of Electrical Equipment | 525.6 | 2 | 68
Rides, Tents and Concessions | 525.21 | 2 | 68
Scope | 525.1 | 2 | 67
Services | 525.11 | 2 | 68
Wiring Methods | 525.2 | 2 | 68
CATV
Access to Electrical Equipment Behind Panels Designed to Allow Access | 820.5 | 2 | 220
Additional Listing Requirements | 820.51 | 2 | 224
Applications of Listed CATV Cables | 820.53 | 2 | 226
Cable Grounding | 820.4 | 2 | 221
Definitions | 820.2 | 2 | 219
Energy Limitations | 820.4 | 2 | 220
Grounding Cable | 820.33 | 2 | 221
Installation of Cables and Equipment | 820.52 | 2 | 225
Listing and Markings | 820.5 | 2 | 224
Locations and Other Articles | 820.3 | 2 | 219
Mechanical Execution of Work | 820.6 | 2 | 220
Outside Cables | 820.1 | 2 | 221
Scope | 820.1 | 2 | 219
Class I Hazardous Locations
Conductor Insulation, Class I, Divisions 1 and 2 | 501.13 | 2 | 24
Conduit and Cable Seals | 501.5 | 2 | 17
Control Transformers and Relays | 501.7 | 2 | 22
Enclosures | 501.6 | 2 | 21
Flexible Cords | 501.11 | 2 | 23
General | 501.1 | 2 | 15
Grounding and Bonding, Class I, Divisions 1 and 2 | 501.16 | 2 | 25
Low Voltage, Limited Energy and Communications Systems | 501.14 | 2 | 24
Luminaires | 501.9 | 2 | 22
Meters, Instruments and Relays | 501.3 | 2 | 15
Motors and Generators | 501.8 | 2 | 22
Multiwire Branch Circuits | 501.18 | 2 | 25
Receptacles and Attachment Plugs | 501.12 | 2 | 24
Transformers and Capacitors | 501.2 | 2 | 15
Wiring Methods | 501.4 | 2 | 15
Class II Hazardous Locations
Control Transformers | 502.7 | 2 | 32
Flexible Cords | 502.12 | 2 | 33
General | 502.1 | 2 | 29
Grounding and Bonding, Class II, Divisions 1 and 2 | 502.16 | 2 | 34
Low Voltage, Limited Energy, and Communications Systems | 502.14 | 2 | 33
Luminaires | 502.11 | 2 | 32
Motors and Generators | 502.8 | 2 | 32
Multiwire Branch Circuits | 502.18 | 2 | 35
Receptacles and Attachment Plugs | 502.13 | 2 | 33
Seals | 502.5 | 2 | 31
Switches, Circuit Breakers, Motor Controllers and Fuses | 502.6 | 2 | 31
Wiring Methods | 502.4 | 2 | 30
Class III Hazardous Locations
Control Transformers | 503.5 | 2 | 37
Flexible Cords | 503.1 | 2 | 38
General | 503.1 | 2 | 37
Grounding | 503.16 | 2 | 38
Luminaires | 503.9 | 2 | 38
Motors and Generators | 503.6 | 2 | 37
Receptacles and Attachment Plugs | 503.11 | 2 | 38
Signaling, Alarm, Remote-Control and Loudspeaker Systems | 503.12 | 2 | 38
Switches, Circuit Breakers, Motor Controllers and Fuses | 503.4 | 2 | 37
Wiring Methods | 503.3 | 2 | 37
Commercial Garages
GFCI Protection | 511.12 | 2 | 47
Locations | 511.3 | 2 | 44
Scope | 511.1 | 2 | 44
Seals | 511.9 | 2 | 47
Special Equipment | 511.1 | 2 | 47
Wiring and Equipment | 511.4 | 2 | 45
Wiring and Equipment Above Class I Locations | 511.7 | 2 | 46
Communication Circuits
Access to Electrical Equipment Behind Panels Designed to Allow Access | 800.5 | 2 | 201
Applications of Listed Communications Cables and Raceways | 800.53 | 2 | 209
Cable and Primary Protector Grounding | 800.4 | 2 | 203
Cable Grounding | 800.33 | 2 | 202
Definitions | 800.2 | 2 | 201
Equipment | 800.4 | 2 | 201
Hazardous (Classified) Locations | 800.8 | 2 | 202
Installation of Communications Wires, Cables and Equipment | 800.52 | 2 | 207
Lightning Conductors | 800.13 | 2 | 202
Listing and Markings | 800.5 | 2 | 205
Listing for Communications Cables and Raceways | 800.51 | 2 | 206
Mechanical Execution of Work | 800.6 | 2 | 201
Raceways for Communications Circuits | 800.48 | 2 | 205
Scope | 800.1 | 2 | 200
Conductors
Conductor Ampacity | 310.15 | 1 | 249
Conductor Construction | 310.13 | 1 | 248
Conductor Identification | 310.12 | 1 | 248
Conductors | 310.2 | 1 | 246
Conductors in Parallel | 310.4 | 1 | 246
Corrosive Conditions | 310.9 | 1 | 247
Insulation Temperature Limitation | 310.1 | 1 | 247
Locations | 310.8 | 1 | 247
Minimum Size Conductors | 310.5 | 1 | 247
Scope | 310.1 | 1 | 246
Stranded Conductors | 310.3 | 1 | 246
Electric Signs
Ballasts, Transformers and Electronic Power Supplies | 600.21 | 2 | 95
Branch Circuits | 600.5 | 2 | 93
Disconnects | 600.6 | 2 | 93
Listing | 600.3 | 2 | 93
Location | 600.9 | 2 | 94
Markings | 600.4 | 2 | 93
Portable or Mobile Signs | 600.1 | 2 | 94
Scope | 600.1 | 2 | 93
Electric Space Heating Equipment
Branch Circuits | 424.3 | 1 | 392
Disconnect for Electric Duct Heater Controller | 424.65 | 1 | 393
Disconnecting Means | 424.19 | 1 | 392
Installation of Cables in Concrete or Poured Masonry Floors | 424.44 | 1 | 393
Permanently Installed Baseboard Headers with Receptacles | 424.9 | 1 | 392
Scope | 424.1 | 1 | 392
Definitions | 625.2 | 2 | 104
Personnel Protection System | 625.22 | 2 | 104
Scope | 625.1 | 2 | 104
Electric Welders
Ampacity of Supply Conductors | 630.11 | 2 | 106
Ampacity of Supply Conductors | 630.31 | 2 | 107
Disconnecting Means | 630.13 | 2 | 107
Disconnecting Means | 630.33 | 2 | 107
Overcurrent Protection | 630.12 | 2 | 107
Overcurrent Protection | 630.32 | 2 | 107
Scope | 630.1 | 2 | 106
Electrical Metallic Tubing (EMT)
Bends | 358.24 | 1 | 318
Coupling and Connectors | 358.42 | 1 | 319
Definition | 358.2 | 1 | 317
Listing Requirement | 358.6 | 1 | 317
Number of Bends (360°) | 358.26 | 1 | 318
Number of Conductors | 358.22 | 1 | 318
Reaming and Threading | 358.28 | 1 | 318
Scope | 358.1 | 1 | 317
Secured and Supported | 358.3 | 1 | 318
Size | 358.2 | 1 | 318
Use | 358.1 | 1 | 317
Uses Not Permitted | 358.12 | 1 | 317
Electrical Nonmetallic Tubing (ENT)
Bends | 362.24 | 1 | 323
Bushings | 362.46 | 1 | 324
Definition | 362.2 | 1 | 321
Grounding | 362.6 | 1 | 324
Joints | 362.48 | 1 | 324
Number of Bends (360°) | 362.26 | 1 | 323
Number of Conductors | 362.22 | 1 | 323
Scope | 362.1 | 1 | 321
Secured and Supported | 362.3 | 1 | 323
Sizes | 362.2 | 1 | 323
Trimming | 362.28 | 1 | 323
Uses Not Permitted | 362.12 | 1 | 322
Uses Permitted | 362.1 | 1 | 321
Elevators, Escalators, and Moving Walks
Branch Circuit for Hoistway Pit | 620.24 | 2 | 101
Branch Circuit for Machine Room/Machinery Space | 620.23 | 2 | 101
Disconnecting Means | 620.51 | 2 | 101
GFCI Protection for Personnel | 620.85 | 2 | 102
Scope | 620.1 | 2 | 101
Wiring in Hoistways and Machine Rooms | 620.37 | 2 | 101
Emergency Standby Power Systems
Accessibility | 700.25 | 2 | 149
Application of Other Articles | 700.2 | 2 | 144
Capacity | 700.5 | 2 | 145
Emergency Illumination | 700.16 | 2 | 149
Equipment Approval | 700.3 | 2 | 144
General Requirements | 700.12 | 2 | 147
Ground-Fault Protection of Equipment | 700.26 | 2 | 149
Loads on Emergency Branch Circuits | 700.15 | 2 | 149
Scope | 700.1 | 2 | 144
Signals | 700.7 | 2 | 146
Signs | 700.8 | 2 | 146
Switch Location | 700.21 | 2 | 149
Switch Requirements | 700.2 | 2 | 149
Tests and Maintenance | 700.4 | 2 | 144
Transfer Equipment | 700.6 | 2 | 145
Wiring, Emergency System | 700.9 | 2 | 146
Feeders
Ground-Fault Protection of Equipment | 215.1 | 1 | 79
High-Leg Conductor Identification | 215.8 | 1 | 79
Minimum Rating and Size | 215.2 | 1 | 78
Overcurrent Protection | 215.3 | 1 | 78
Scope | 215.1 | 1 | 78
Fire Alarm Systems
Access to Electrical Equipment Behind Panels Designed to Allow Access | 760.5 | 2 | 183
Applications of Listed PLFA Cables | 760.61 | 2 | 188
Conductors of Different Circuits in Same Cable, Enclosure or Raceway | 760.26 | 2 | 185
Conductors of Different PLFA Circuits, Class 2, Class 3 and Communications Circuits in Same Cable, Enclosure or Raceway | 760.56 | 2 | 187
Definitions | 760.2 | 2 | 181
Equipment Marking | 760.42 | 2 | 186
Fire Alarm Circuit and Equipment Grounding | 760.9 | 2 | 184
Fire Alarm Circuit Cables Exposed to Lightning | 760.7 | 2 | 184
Fire Alarm Circuit Identification | 760.1 | 2 | 184
Fire Alarm Circuit Requirements | 760.15 | 2 | 184
Installation of Conductors and Equipment | 760.54 | 2 | 187
Listing and Marking of PLFA Cables and Insulated Continuous Line-Type Fire Detectors | 760.71 | 2 | 188
Mechanical Execution of Work | 760.6 | 2 | 183
NPLFA Circuit Conductors | 760.27 | 2 | 185
NPLFA Circuit Overcurrent Device Location | 760.24 | 2 | 185
NPLFA Circuit Overcurrent Protection | 760.23 | 2 | 185
NPLFA Circuit Power Source Requirements | 760.21 | 2 | 184
NPLFA Circuit Wiring Methods | 760.25 | 2 | 185
Number of Conductors in a Raceway | 760.28 | 2 | 185
Other Articles | 760.3 | 2 | 182
Power Sources for PLFA Circuits | 760.41 | 2 | 186
Scope | 760.1 | 2 | 181
Separation from Other Circuit Conductors | 760.55 | 2 | 187
Support | 760.57 | 2 | 187
Wiring Methods and Materials on Load Side of the PLFA Power Source | 760.52 | 2 | 186
Fire Pumps
Power Sources for Electric Motor-Driven Fire Pumps | 695.3 | 2 | 139
Power Wiring | 695.6 | 2 | 139
Scope | 695.1 | 2 | 139
Transformers | 695.5 | 2 | 139
Voltage Drop | 695.7 | 2 | 140
Fixture Wires
Allowable Ampacity of Fixture Wires | 402.5 | 1 | 351
Grounded (neutral) Conductor | 402.8 | 1 | 351
Minimum Size | 402.6 | 1 | 351
Overcurrent Protection | 402.12 | 1 | 352
Raceway Size | 402.7 | 1 | 351
Scope | 402.1 | 1 | 351
Types | 402.3 | 1 | 351
Uses Not Permitted | 402.11 | 1 | 352
Uses Permitted | 402.1 | 1 | 351
Flexible Cords and Cables
Ampacity of Flexible Cords and Cables | 400.5 | 1 | 347
Overcurrent Protection | 400.13 | 1 | 349
Pull at Joints and Terminals | 400.1 | 1 | 349
Scope | 400.1 | 1 | 347
Suitability | 400.3 | 1 | 347
Types | 400.4 | 1 | 347
Uses Not Permitted | 400.8 | 1 | 348
Uses Permitted | 400.7 | 1 | 347
Flexible Metal Conduit (FMC)
Bends | 348.24 | 1 | 300
Definition | 348.2 | 1 | 299
Fittings | 348.42 | 1 | 300
Grounding | 348.6 | 1 | 301
Listing Requirements | 348.6 | 1 | 299
Number of Bends (360°) | 348.26 | 1 | 300
Number of Conductors | 348.22 | 1 | 299
Scope | 348.1 | 1 | 299
Secured and Supports | 348.3 | 1 | 300
Size | 348.2 | 1 | 299
Trimming | 348.28 | 1 | 300
Uses Not Permitted | 348.12 | 1 | 299
Uses Permitted | 348.1 | 1 | 299
Fuel Cell Systems
Definitions | 692.2 | 2 | 137
Listing Requirement | 692.6 | 2 | 137
Scope | 692.1 | 2 | 137
General Requirements
Access and Working Space About Electrical Equipment | 110.26 | 1 | 37
Approval of Equipment | 110.2 | 1 | 27
Code Arrangement | 90.3 | 1 | 4
Conductor Insulation | 110.7 | 1 | 28
Conductor Sizes | 110.6 | 1 | 28
Copper Conductors | 110.5 | 1 | 28
Deteriorating Agents | 110.11 | 1 | 31
Electrical Conductor Termination | 110.14 | 1 | 33
Enforcement | 90.4 | 1 | 5
Examination of Equipment for Product Safety | 90.7 | 1 | 6
Examination, Identification, Installation, and Use of Equipment | 110.3 | 1 | 27
Flash Protection Warning | 110.16 | 1 | 36
Formal Interpretations | 90.6 | 1 | 6
Guarding | 110.27 | 1 | 42
High-Leg Conductor Identification | 110.15 | 1 | 36
Identification of Disconnecting Means | 110.22 | 1 | 37
Interrupting Protection Rating | 110.9 | 1 | 29
Mandatory Rules and Explanatory Material | 90.5 | 1 | 6
Manufacturer’s Markings | 110.21 | 1 | 37
Mechanical Execution of Work | 110.12 | 1 | 32
Mounting and Cooling of Equipment | 110.13 | 1 | 33
Purpose | 90.1 | 1 | 2
Scope | 90.2 | 1 | 3
Scope. | 110.1 | 1 | 27
Short-Circuit Current Rating | 110.1 | 1 | 30
Suitable Wiring Methods | 110.8 | 1 | 29
Units of Measurement | 90.9 | 1 | 7
Voltages | 110.4 | 1 | 27
Generators
Ampacity of Conductors | 445.13 | 1 | 413
Disconnecting Means Required for Generators | 445.18 | 1 | 414
Marking | 445.11 | 1 | 413
Other Articles | 445.3 | 1 | 413
Overcurrent Protection | 445.12 | 1 | 413
Scope | 445.1 | 1 | 413
Grounding
Alternating-Current Systems to be grounded | 250.2 | 1 | 154
Bonding Circuits Over 250V to Ground | 250.97 | 1 | 190
Bonding Jumper | 250.102 | 1 | 191
Bonding of Communications Systems | 250.94 | 1 | 186
Bonding of Piping Systems and Exposed Structural Steel | 250.104 | 1 | 193
Bonding Other Enclosures | 250.96 | 1 | 188
Bonding Receptacle Grounding Terminal to Box | 250.146 | 1 | 205
Clean Surface | 250.12 | 1 | 154
Common Grounding Electrode | 250.58 | 1 | 178
Continuity and Attachment of Equipment Grounding Conductors to Boxes | 250.148 | 1 | 209
Definitions | 250.2 | 1 | 142
Equipment Considered Effectively Grounded | 250.136 | 1 | 203
Equipment Grounding Conductor Connections | 250.13 | 1 | 202
Equipment Grounding Conductors Installation | 250.12 | 1 | 199
Fixed Equipment Grounding | 250.134 | 1 | 203
General | 250.9 | 1 | 183
General Requirements for Grounding and Bonding | 250.4 | 1 | 143
Generators-Portable and Vehicle-Mounted | 250.34 | 1 | 169
Grounding and Bonding at Service Equipment | 250.24 | 1 | 156
Grounding Electrode Conductor - Material | 250.62 | 1 | 179
Grounding Electrode Conductor - Sizing | 250.66 | 1 | 180
Grounding Electrode Connection | 250.68 | 1 | 181
Grounding Electrode System | 250.5 | 1 | 172
Grounding Electrode Termination Fitting | 250.7 | 1 | 182
Grounding Electrodes | 250.52 | 1 | 172
Grounding of Ranges, Clothes Dryers | 250.14 | 1 | 203
Grounding Separate Buildings and Structures | 250.32 | 1 | 167
Grounding Separately Derived Systems | 250.3 | 1 | 161
Hazardous (Classified) Locations Bonding | 250.1 | 1 | 190
Identification of Effective Ground-Fault Path Conductors | 250.119 | 1 | 198
Identification of Wiring Device Terminals | 250.126 | 1 | 201
Installation of Grounding Electrode Systems | 250.53 | 1 | 175
Lightning Protection System | 250.106 | 1 | 195
Lightning Protection System Grounding Electrode | 250.6 | 1 | 178
Main Bonding Jumper | 250.28 | 1 | 160
Neutral-to-case Connections | 250.142 | 1 | 204
Objectionable (neutral) Current | 250.6 | 1 | 149
Other Code Sections | 250.3 | 1 | 143
Other Enclosures | 250.86 | 1 | 183
Protection of Grounding Fittings | 250.1 | 1 | 154
Resistance of Ground Rod Electrode | 250.56 | 1 | 177
Scope | 250.1 | 1 | 142
Service Enclosures | 250.8 | 1 | 182
Services | 250.92 | 1 | 184
Sizing Equipment Grounding Conductor | 250.122 | 1 | 199
Supplementary Electrodes | 250.54 | 1 | 177
Termination of Grounding and Bonding Conductors | 250.8 | 1 | 153
Types of Equipment Grounding Conductors | 250.118 | 1 | 196
Hazardous (Classified) Locations
Classifications of Locations | 500.5 | 2 | 5
Definitions | 500.2 | 2 | 4
Equipment | 500.8 | 2 | 10
General | 500.4 | 2 | 4
Material Groups | 500.6 | 2 | 7
Other Articles | 500.3 | 2 | 4
Protection Techniques | 500.7 | 2 | 8
Scope | 500.1 | 2 | 3
Specific Occupancies | 500.9 | 2 | 12
Health Care Facilities
Applicability | 517.1 | 2 | 58
Definitions | 517.2 | 2 | 58
Essential Electrical Systems for Hospitals | 517.3 | 2 | 61
General Care Areas | 517.18 | 2 | 61
Grounding of Receptacles and Fixed Electric Equipment in Patient Care Areas | 517.13 | 2 | 58
Isolated Ground (Bond) Receptacles | 517.16 | 2 | 60
Patient Care Areas | 517.8 | 2 | 62
Scope | 517.1 | 2 | 58
Wiring Methods | 517.12 | 2 | 58
Information Technology Equipment
Cables Not in Information Technology Equipment Room | 645.6 | 2 | 115
Disconnecting Means | 645.1 | 2 | 116
Grounding | 645.15 | 2 | 116
Information Technology Equipment Room | 645.2 | 2 | 114
Penetrations | 645.7 | 2 | 115
Scope | 645.1 | 2 | 114
Supply Circuits and Interconnecting Cables | 645.5 | 2 | 114
Instrumentation Tray Cable: Type ITC
Ampacity | 727.8 | 2 | 179
Bends | 727.1 | 2 | 179
Construction | 727.6 | 2 | 178
Definition | 727.2 | 2 | 178
Marking | 727.7 | 2 | 178
Other Articles | 727.3 | 2 | 178
Overcurrent Protection | 727.9 | 2 | 179
Scope | 727.1 | 2 | 178
Uses Not Permitted | 727.5 | 2 | 178
Uses Permitted | 727.4 | 2 | 178
Intermediate Metal Conduit (IMC)
Bends | 342.24 | 1 | 291
Bushings | 342.46 | 1 | 293
Couplings and Connectors | 342.42 | 1 | 293
Definition | 342.2 | 1 | 291
Dissimilar Metals | 342.14 | 1 | 291
Listing Requirements | 342.6 | 1 | 291
Number of Bends (360°) | 342.26 | 1 | 292
Number of Conductors | 342.22 | 1 | 291
Reaming | 342.28 | 1 | 292
Scope | 342.1 | 1 | 291
Secured and Supported | 342.3 | 1 | 292
Size | 342.2 | 1 | 291
Uses Permitted | 342.1 | 1 | 291
Intrinsically Safe Systems
Application of Other Articles | 504.3 | 2 | 41
Bonding | 504.6 | 2 | 42
Definitions | 504.2 | 2 | 41
Equipment Approval | 504.4 | 2 | 41
Equipment Installation | 504.1 | 2 | 41
Grounding | 504.5 | 2 | 42
Identification | 504.8 | 2 | 42
Scope | 504.1 | 2 | 41
Sealing | 504.7 | 2 | 42
Separation of Intrinsically Safe Conductors | 504.3 | 2 | 41
Wiring Methods | 504.2 | 2 | 41
Legally Required Standby Systems
Accessibility | 701.15 | 2 | 154
Application of Other Articles | 701.3 | 2 | 151
Capacity and Rating | 701.6 | 2 | 152
Equipment Approval | 701.4 | 2 | 151
Ground-Fault Protection of Equipment | 701.17 | 2 | 154
Legally Required Standby Systems | 701.11 | 2 | 152
Legally Required Standby Systems | 701.2 | 2 | 151
Scope | 701.1 | 2 | 151
Signals | 701.8 | 2 | 152
Signs | 701.9 | 2 | 152
Tests and Maintenance for Legally Required Standby Systems | 701.5 | 2 | 151
Transfer Equipment | 701.7 | 2 | 152
Wiring Legally Required Standby Systems | 701.1 | 2 | 152
Lighting Systems Operating at 30V or Less
Definition | 411.2 | 1 | 385
Listing Required | 411.3 | 1 | 385
Locations Not Permitted | 411.4 | 1 | 385
Scope | 411.1 | 1 | 385
Liquidtight Flexible Metal Conduit (LFMC)
Bends | 350.24 | 1 | 304
Definition | 350.2 | 1 | 303
Fittings | 350.42 | 1 | 304
Grounding | 350.6 | 1 | 304
Listing Requirement | 350.6 | 1 | 303
Number of Bends (360°) | 350.26 | 1 | 304
Number of Conductors | 350.22 | 1 | 303
Scope | 350.1 | 1 | 303
Secured and Supports | 350.3 | 1 | 304
Size | 350.2 | 1 | 303
Uses Not Permitted | 350.12 | 1 | 303
Uses Permitted | 350.1 | 1 | 303
Liquidtight Flexible Nonmetallic Conduit (LFNC)
Bends | 356.24 | 1 | 314
Definition | 356.2 | 1 | 314
Fittings | 356.42 | 1 | 315
Grounding | 356.6 | 1 | 315
Listing Requirement | 356.6 | 1 | 314
Number of Bends (360°) | 356.26 | 1 | 315
Number of Conductors | 356.22 | 1 | 314
Scope | 356.1 | 1 | 314
Secured and Supports | 356.3 | 1 | 315
Size | 356.2 | 1 | 314
Uses Not Permitted | 356.12 | 1 | 314
Uses Permitted | 356.1 | 1 | 314
Load Calculations
Commercial - Kitchen Equipment Load | 220.2 | 1 | 93
Commercial - Receptacle Load | 220.13 | 1 | 88
Commercial - Show Window and Track Lighting Load | 220.12 | 1 | 88
Computation of Loads | 220.3 | 1 | 82
Dwelling Unit - Appliance Load | 220.17 | 1 | 90
Dwelling Unit - Electric Clothes Dryer Load | 220.18 | 1 | 90
Dwelling Unit - Electric Ranges and Cooking Appliance Load | 220.19 | 1 | 91
Dwelling Unit - Optional Load Calculation | 220.3 | 1 | 96
Dwelling Unit - Small-appliance and Laundry Load | 220.16 | 1 | 89
Feeder/service Neutral Load | 220.22 | 1 | 94
Fixed Electric Space Heating Load | 220.15 | 1 | 89
General | 220.1 | 1 | 87
General Lighting Demand Factors | 220.11 | 1 | 87
Maximum Load on a Branch Circuit | 220.4 | 1 | 86
Motor Load | 220.14 | 1 | 89
Multifamily - Optional Load Calculation | 220.32 | 1 | 97
Noncoincident Loads | 220.21 | 1 | 93
Scope | 220.1 | 1 | 81
Voltage for Calculations | 220.2 | 1 | 81
Luminaires, Lampholders, and Lamps
Branch-Circuit Conductors and Ballast | 410.33 | 1 | 380
Clothes Closets | 410.8 | 1 | 375
Connection of Electric Discharge Luminaires | 410.14 | 1 | 377
Cord-Connected Luminaires | 410.3 | 1 | 379
Definition | 410.1 | 1 | 381
Fastening | 410.104 | 1 | 382
Installation | 410.101 | 1 | 381
Luminaire Mounting | 410.76 | 1 | 381
Luminaires Used As Raceway | 410.31 | 1 | 379
Metal Poles | 410.15 | 1 | 377
Outlet Box to Be Covered | 410.12 | 1 | 376
Polarization of Luminaires | 410.23 | 1 | 379
Recessed Luminaire Clearances | 410.66 | 1 | 381
Scope | 410.1 | 1 | 374
Screw-Shell Lampholder | 410.47 | 1 | 380
Specific Locations | 410.4 | 1 | 374
Support | 410.16 | 1 | 378
Thermally Protected | 410.65 | 1 | 380
Wiring | 410.67 | 1 | 381
Wiring Luminaires Connected Together | 410.32 | 1 | 380
Manufactured Wiring Systems
Construction | 604.6 | 2 | 97
Definition | 604.2 | 2 | 97
Other Articles | 604.3 | 2 | 97
Scope | 604.1 | 2 | 97
Uses Not Permitted | 604.5 | 2 | 97
Uses Permitted | 604.4 | 2 | 97
Marinas And Boatyards
Boat Receptacle Disconnecting Means | 555.17 | 2 | 88
Definitions | 555.2 | 2 | 87
Electrical Connections | 555.9 | 2 | 87
Load Calculations for Service and Feeder Conductors | 555.12 | 2 | 87
Receptacles | 555.19 | 2 | 88
Scope | 555.1 | 2 | 87
Transformers | 555.5 | 2 | 87
Metal Wireways
Conductor – Maximum Size | 376.21 | 1 | 326
Conductors – Maximum Number | 376.22 | 1 | 326
Definition | 376.2 | 1 | 326
Scope | 376.1 | 1 | 326
Splices and Taps | 376.56 | 1 | 327
Supports | 376.3 | 1 | 327
Uses Not Permitted | 376.12 | 1 | 326
Uses Permitted | 376.1 | 1 | 326
Wireway Sizing | 376.23 | 1 | 327
Metal-Clad Cable (Type MC)
Bends | 330.24 | 1 | 275
Conductor Ampacities | 330.8 | 1 | 276
Definition | 330.2 | 1 | 274
Fittings | 330.4 | 1 | 276
Grounding | 330.108 | 1 | 276
In Accessible Attics or Roof Spaces | 330.23 | 1 | 274
Scope | 330.1 | 1 | 274
Securing and Supporting | 330.3 | 1 | 275
Through or Parallel to Framing Members | 330.17 | 1 | 274
Uses Not Permitted | 330.12 | 1 | 274
Uses Permitted | 330.1 | 1 | 274
Mobile Homes, Manufactured Homes, and Mobile Home Parks
Allowable Demand Factors | 550.31 | 2 | 84
Arc-Fault Circuit-Interrupter Protection | 550.25 | 2 | 83
Definitions | 550.2 | 2 | 82
Distribution Systems | 550.3 | 2 | 84
Feeder | 550.33 | 2 | 85
General Requirements | 550.4 | 2 | 82
Receptacle Outlets | 550.13 | 2 | 82
Scope | 550.1 | 2 | 82
Service Equipment | 550.32 | 2 | 84
Motor Fuel Dispensing Facilities
Circuit Disconnects | 514.11 | 2 | 55
Classification of Locations | 514.3 | 2 | 53
Definition | 514.2 | 2 | 53
Grounding | 514.16 | 2 | 56
Maintenance and Service of Dispensing Equipment | 514.13 | 2 | 56
Raceway Seal | 514.9 | 2 | 55
Scope | 514.1 | 2 | 53
Underground Wiring | 514.8 | 2 | 54
Wiring and Equipment Above Class I Locations | 514.7 | 2 | 54
Wiring and Equipment Within Class I Locations | 514.4 | 2 | 54
Motors, Motor Circuits, and Controllers
Branch-Circuit Short-Circuit and Ground-Fault Protection | 430.52 | 1 | 399
Combination Controller-Disconnect | 430.111 | 1 | 405
Controller for Each Motor | 430.87 | 1 | 403
Controller Rating | 430.83 | 1 | 402
Definition of Motor Control Circuit | 430.71 | 1 | 401
Disconnect for Control Circuit | 430.74 | 1 | 402
Disconnect Opens All Conductors | 430.103 | 1 | 404
Disconnect Rating | 430.109 | 1 | 405
Disconnect Requirement | 430.102 | 1 | 403
Feeder Protection | 430.62 | 1 | 400
General | 430.51 | 1 | 399
General | 430.81 | 1 | 402
Location of Motors | 430.14 | 1 | 395
Marking and Mounting | 430.104 | 1 | 404
Motor Controller Enclosure Types | 430.91 | 1 | 403
Motor Controllers Terminal Requirements | 430.9 | 1 | 395
Motor Feeder Conductor Size | 430.24 | 1 | 397
Motor Tap Conductors | 430.28 | 1 | 397
Need Not Open All Conductors | 430.84 | 1 | 403
Number of Overload Devices | 430.37 | 1 | 399
Overcurrent Protection for Control Circuits | 430.72 | 1 | 401
Overload | 430.31 | 1 | 398
Overload Sizing | 430.32 | 1 | 398
Readily Accessible | 430.107 | 1 | 405
Scope | 430.1 | 1 | 395
Single Motor Conductor Size | 430.22 | 1 | 396
Single Overcurrent Protective Device | 430.55 | 1 | 400
Table FLC versus Motor Nameplate Current Rating | 430.6 | 1 | 395
The Highest Rated Motors | 430.17 | 1 | 396
Use of Fuses for Overload Protection | 430.36 | 1 | 398
Multioutlet Assembly
Scope | 380.1 | 1 | 332
Through Partitions | 380.3 | 1 | 332
Uses | 380.2 | 1 | 332
Nonmetallic Underground Conduit with Conductors (NUCC)
Bends | 354.24 | 1 | 312
Bends — Number in One Run | 354.26 | 1 | 312
Bushings | 354.46 | 1 | 312
Conductor Terminations | 354.5 | 1 | 312
Definition | 354.2 | 1 | 311
Joints | 354.48 | 1 | 312
Listing Requirement | 354.6 | 1 | 311
Scope | 354.1 | 1 | 311
Size | 354.2 | 1 | 312
Trimming | 354.28 | 1 | 312
Uses Not Permitted | 354.12 | 1 | 311
Uses Permitted | 354.1 | 1 | 311
Nonmetallic Wireways
Conductor – Maximum Size | 378.21 | 1 | 329
Conductors – Maximum Number | 378.22 | 1 | 329
Definition | 378.2 | 1 | 329
Expansion Fittings | 378.44 | 1 | 330
Grounding | 378.6 | 1 | 330
Scope | 378.1 | 1 | 329
Splices and Taps | 378.56 | 1 | 330
Supports | 378.3 | 1 | 330
Uses Not Permitted | 378.12 | 1 | 329
Uses Permitted | 378.1 | 1 | 329
Wireway Sizing | 378.23 | 1 | 329
Nonmetallic-Sheathed Cable (Types NM and NMC)
Ampacity | 334.8 | 1 | 282
Attics and Roof Spaces | 334.23 | 1 | 281
Bends | 334.24 | 1 | 281
Definition | 334.2 | 1 | 279
Exposed | 334.15 | 1 | 280
Listed | 334.6 | 1 | 279
Scope | 334.1 | 1 | 279
Secured or Supported | 334.3 | 1 | 281
Through or Parallel to Framing Members | 334.17 | 1 | 280
Uses Not Permitted | 334.12 | 1 | 280
Uses Permitted | 334.1 | 1 | 279
Office Furnishings (Wired Partitions)
Fixed-Type Partitions | 605.6 | 2 | 99
General | 605.2 | 2 | 99
Partition Interconnections | 605.4 | 2 | 99
Scope | 605.1 | 2 | 99
Access to Electrical Equipment Behind Panels Designed to Allow Access | 770.7 | 2 | 193
Applications of Listed Optical Fiber Cables and Raceways | 770.53 | 2 | 195
Definitions | 770.2 | 2 | 191
Installation of Optical Fibers and Electrical Conductors | 770.52 | 2 | 195
Listing and Marking | 770.5 | 2 | 194
Listing Requirements for Optical Fiber Cables and Raceways | 770.51 | 2 | 194
Locations and Other Articles | 770.3 | 2 | 191
Mechanical Execution of Work | 770.8 | 2 | 193
Optical Fiber Cables | 770.4 | 2 | 192
Raceways for Optical Fiber Cables | 770.6 | 2 | 193
Scope | 770.1 | 2 | 191
Types | 770.5 | 2 | 192
Optional Standby Systems
Application of Other Articles | 702.3 | 2 | 156
Capacity and Rating | 702.5 | 2 | 157
Definition | 702.2 | 2 | 156
Equipment Approval | 702.4 | 2 | 156
Portable Generator Grounding | 702.1 | 2 | 157
Scope | 702.1 | 2 | 156
Signals | 702.7 | 2 | 157
Signs | 702.8 | 2 | 157
Transfer Equipment | 702.6 | 2 | 157
Wiring Optional Standby Systems | 702.9 | 2 | 157
Outlet, Device, Pull and Junction Boxes, Conduit Bodies, and Fittings
Boxes Installed in Walls or Ceilings | 314.2 | 1 | 261
Conductors Entering Boxes or Conduit Bodies | 314.17 | 1 | 260
Covers and Canopies | 314.25 | 1 | 263
Damp, Wet, or Hazardous (Classified) Locations | 314.15 | 1 | 257
Gaps Around Boxes | 314.21 | 1 | 261
Nonmetallic Boxes | 314.3 | 1 | 257
-Number of 6 AWG and Smaller Conductors in Boxes and Conduit Bodies | 314.16 | 1 | 258
Outlet Boxes | 314.27 | 1 | 264
-Pull and Junction Boxes and Conduit Bodies for Conductors 4 AWG and Larger | 314.28 | 1 | 265
Scope | 314.1 | 1 | 257
Short-Radius Conduit Bodies. | 314.5 | 1 | 257
Supports of Boxes and Conduit Bodies | 314.23 | 1 | 262
Surface Extensions | 314.22 | 1 | 261
Wiring to be Accessible | 314.29 | 1 | 266
Outside Wiring
Access to Occupants | 235.35 | 1 | 104
Clearances | 225.18 | 1 | 100
Clearances From Building | 225.19 | 1 | 100
Disconnect Construction | 225.38 | 1 | 104
Disconnect Location | 225.32 | 1 | 102
Disconnecting Means | 225.31 | 1 | 102
Grouping of Disconnects | 225.34 | 1 | 104
Identification of Multiple Supplies | 225.37 | 1 | 104
Identified As Suitable for Service Equipment | 225.36 | 1 | 104
Luminaires Installed Outdoors | 225.7 | 1 | 100
Maximum Number of Disconnects | 225.33 | 1 | 104
Means of Attachment to Buildings | 225.17 | 1 | 100
Minimum Size Conductors | 225.6 | 1 | 99
Number of Supplies | 225.3 | 1 | 102
Other Articles | 225.2 | 1 | 99
Point of Attachment to Buildings | 225.16 | 1 | 100
Rating of Disconnecting Means | 225.39 | 1 | 105
Scope | 225.1 | 1 | 99
Supports over Buildings | 225.15 | 1 | 100
Trees For Conductor Support | 225.26 | 1 | 101
Overcurrent Protection
Applications | 240.85 | 1 | 133
Classification | 240.61 | 1 | 132
Damp or Wet Locations | 240.32 | 1 | 130
Definitions | 240.2 | 1 | 121
Edison-base Fuse | 240.51 | 1 | 131
General | 240.6 | 1 | 131
Ground Fault Protection of Equipment | 240.13 | 1 | 125
Indicating | 240.81 | 1 | 132
Location in Circuit | 240.21 | 1 | 126
Location in Premises | 240.24 | 1 | 129
Markings | 240.84 | 1 | 132
Method of Operation | 240.8 | 1 | 132
Protection of Conductors | 240.4 | 1 | 124
Protection of Equipment | 240.3 | 1 | 122
Protection of Flexible Cords and Fixture Wires | 240.5 | 1 | 124
Scope | 240.1 | 1 | 121
Standard Ampere Ratings | 240.6 | 1 | 125
Supplementary Overcurrent Protection | 240.1 | 1 | 125
Type S Fuses | 240.53 | 1 | 131
Type S Fuses, Adapters, and Fuseholders | 240.54 | 1 | 131
Ungrounded Conductors | 240.2 | 1 | 125
Vertical Position | 240.33 | 1 | 130
Places of Assembly
General Classifications | 518.2 | 2 | 64
Other Articles | 518.3 | 2 | 64
Scope | 518.1 | 2 | 64
Wiring Methods | 518.4 | 2 | 64
Power and Control Tray Cable (Type TC)
Definition | 336.2 | 1 | 284
Scope | 336.1 | 1 | 284
Uses Not Permitted | 336.12 | 1 | 284
Uses Permitted | 336.1 | 1 | 284
Radio and Television Equipment
Antenna Discharge Unit | 810.2 | 2 | 215
Avoidance of Contacts with Conductors of Other Systems | 810.13 | 2 | 214
Clearances | 810.18 | 2 | 215
Community Television Antenna | 810.4 | 2 | 214
Grounding | 810.15 | 2 | 214
Grounding Conductors — Receiving Stations | 810.21 | 2 | 216
Other Articles | 810.3 | 2 | 213
Scope | 810.1 | 2 | 213
Support of Lead-in Cables | 810.12 | 2 | 214
Receptacles
Attachment Plugs | 406.6 | 1 | 363
Connecting Receptacle Grounding Terminal to Box | 406.1 | 1 | 365
General Installation Requirements | 406.3 | 1 | 360
Receptacle Faceplates (Cover Plates) | 406.5 | 1 | 363
Receptacle Mounting | 406.4 | 1 | 362
Receptacle Rating and Type | 406.2 | 1 | 360
Receptacles in Damp or Wet Locations | 406.8 | 1 | 364
Scope | 406.1 | 1 | 360
Remote-Control, Signaling and Power-Limited Circuits
Access to Electrical Equipment Behind Panels Designed to Allow Access | 725.5 | 2 | 167
Applications of Class 2 and Class 3 Cables | 725.61 | 2 | 174
Class 1 Circuit Classifications and Power Source Requirements | 725.21 | 2 | 168
Class 1 Circuit Conductors | 725.27 | 2 | 170
Class 1 Circuit Overcurrent Device Location | 725.24 | 2 | 169
Class 1 Circuit Overcurrent Protection | 725.23 | 2 | 169
Class 1 Circuit Wiring Methods | 725.25 | 2 | 169
Class 1, Class 2 and Class 3 Circuit Requirements | 725.15 | 2 | 168
Class 2 or Class 3 Cables Exposed to Lightning | 725.57 | 2 | 173
Conductors of Different Circuits in Same Cable, Enclosure or Raceway | 725.26 | 2 | 169
Conductors of Different Circuits in Same Cable, Enclosure or Raceway | 725.56 | 2 | 172
Definitions | 725.2 | 2 | 161
Equipment Marking | 725.42 | 2 | 171
Grounding | 725.9 | 2 | 168
Installation of Class 2 and Class 3 Circuit Conductors | 725.54 | 2 | 171
Listing and Marking of Class 2 and Class 3 Cables | 725.71 | 2 | 175
Mechanical Execution of Work | 725.6 | 2 | 167
Number of Conductors in a Raceway | 725.28 | 2 | 170
Other Articles | 725.3 | 2 | 163
Power Sources for Class 2 and Class 3 Circuits | 725.41 | 2 | 170
Safety-Control Equipment | 725.8 | 2 | 167
Scope | 725.1 | 2 | 161
Separation from Other Systems | 725.55 | 2 | 172
Support | 725.58 | 2 | 174
Wiring Methods on Load Side of the Class 2 or Class 3 Power Source | 725.52 | 2 | 171
Wiring Methods on Supply Side of Class 2 or Class 3 Power Source | 725.51 | 2 | 171
Rigid Metal Conduit (RMC)
Bends | 344.24 | 1 | 295
Bushings | 344.46 | 1 | 297
Couplings and Connectors | 344.42 | 1 | 297
Definition | 344.2 | 1 | 295
Dissimilar Metals | 344.14 | 1 | 295
Listing Requirements | 344.6 | 1 | 295
Number of Bends (360°) | 344.26 | 1 | 296
Number of Conductors | 344.22 | 1 | 295
Reaming | 344.28 | 1 | 296
Scope | 344.1 | 1 | 295
Secured and Supported | 344.3 | 1 | 296
Size | 344.2 | 1 | 295
Uses Permitted | 344.1 | 1 | 295
Rigid Nonmetallic Conduit (RNC)
Bends | 352.24 | 1 | 307
Bushings | 352.46 | 1 | 308
Definition | 352.2 | 1 | 306
Expansion Fittings | 352.44 | 1 | 308
Grounding | 352.6 | 1 | 309
Joints | 352.48 | 1 | 308
Number of Bends (360°) | 352.26 | 1 | 307
Number of Conductors | 352.22 | 1 | 307
Scope | 352.1 | 1 | 306
Secured and Supported | 352.3 | 1 | 307
Size | 352.2 | 1 | 307
Trimming | 352.28 | 1 | 307
Uses Not Permitted | 352.12 | 1 | 306
Uses Permitted | 352.1 | 1 | 306
Sensitive Electronic Equipment
Grounding | 647.6 | 2 | 118
Scope | 647.1 | 2 | 118
Wiring Methods | 647.4 | 2 | 118
Service-Entrance Cables (Types SE and USE)
Bends | 338.24 | 1 | 287
Definition | 338.2 | 1 | 286
Scope | 338.1 | 1 | 286
Uses Permitted | 338.1 | 1 | 286
Services
Clearance From Building Openings | 230.9 | 1 | 109
Clearances | 230.24 | 1 | 110
Conductors Considered Outside a Building | 230.6 | 1 | 108
Connections at Service Head (weatherheads) | 230.54 | 1 | 114
Equipment on the Supply Side | 230.82 | 1 | 117
General | 230.7 | 1 | 115
Ground-Fault Protection of Equipment | 230.95 | 1 | 118
Grouping of Disconnects | 230.72 | 1 | 116
High-Leg Identification | 230.56 | 1 | 114
Identified as Suitable for Service Equipment | 230.66 | 1 | 114
Manual or Power-Operated Circuit Breakers | 230.76 | 1 | 117
Number of Disconnects | 230.71 | 1 | 116
Number of Service-Entrance Conductor Sets | 230.4 | 1 | 112
Number of Services | 230.2 | 1 | 107
Overload Protection Required | 230.9 | 1 | 117
Pass Through a Building or Structure | 230.3 | 1 | 108
Point of Attachment | 230.26 | 1 | 111
Protection Against Damage | 230.32 | 1 | 112
Protection Against Physical Damage – Aboveground | 230.5 | 1 | 113
Raceway Seals | 230.8 | 1 | 109
Rating of Disconnect | 230.79 | 1 | 117
Scope | 230.1 | 1 | 107
Service Cable Supports | 230.51 | 1 | 114
Service Conductors Separate From Other Conductors | 230.7 | 1 | 108
Service Masts Used as Supports | 230.28 | 1 | 111
Size and Rating | 230.23 | 1 | 110
Size and Rating | 230.31 | 1 | 112
Size and Rating | 230.42 | 1 | 112
Spliced Conductors | 230.46 | 1 | 113
Vegetation as Support | 230.1 | 1 | 110
Wiring Methods | 230.43 | 1 | 113
Strut-Type Channel Raceway
Conductor – Maximum Size | 384.21 | 1 | 334
Definition | 384.2 | 1 | 334
Grounding | 384.6 | 1 | 335
Number of Conductors | 384.22 | 1 | 334
Scope | 384.1 | 1 | 334
Securing and Supporting | 384.3 | 1 | 334
Splices and Taps | 384.56 | 1 | 335
Uses Not Permitted | 384.12 | 1 | 334
Uses Permitted | 384.1 | 1 | 334
Surface Metal Raceways
Definition | 386.2 | 1 | 337
Grounding | 386.6 | 1 | 338
Listing Requirements | 386.6 | 1 | 337
Number of Conductors Permitted | 386.22 | 1 | 338
Scope | 386.1 | 1 | 337
Separate Compartments | 386.7 | 1 | 338
Size of Conductors | 386.21 | 1 | 337
Splices and Taps | 386.56 | 1 | 338
Uses Not Permitted | 386.12 | 1 | 337
Uses Permitted | 386.1 | 1 | 337
Surface Nonmetallic Raceways
Definition | 388.2 | 1 | 340
Grounding | 388.6 | 1 | 340
Listing Requirements | 388.6 | 1 | 340
Number of Conductors | 388.22 | 1 | 340
Scope | 388.1 | 1 | 340
Separate Compartments | 388.7 | 1 | 340
Size of Conductors | 388.21 | 1 | 340
Splices and Taps | 388.56 | 1 | 340
Uses Not Permitted | 388.12 | 1 | 340
Uses Permitted | 388.1 | 1 | 340
Surge Arresters
Definition | 280.2 | 1 | 216
Grounding | 280.25 | 1 | 216
Installed at Services Equipment | 280.21 | 1 | 216
Installed on the Load Side of Service Equipment | 280.22 | 1 | 216
Location | 280.11 | 1 | 216
Number Required | 280.3 | 1 | 216
outing of Connections | 280.12 | 1 | 216
Scope | 280.1 | 1 | 216
Surge Arrester Selection | 280.4 | 1 | 216
Swimming Pools, Fountains and Spa's
Accessibility | 680.73 | 2 | 133
Area Lighting, Receptacles and Equipment | 680.22 | 2 | 122
Bonding | 680.26 | 2 | 127
Bonding | 680.53 | 2 | 132
Bonding | 680.74 | 2 | 133
Cord-and-Plug-Connected Equipment | 680.56 | 2 | 132
Cord-and-Plug-Connected Equipment | 680.7 | 2 | 120
Definitions | 680.2 | 2 | 120
Disconnecting Means | 680.12 | 2 | 121
Electric Water Heater | 680.9 | 2 | 121
Emergency Switch for Spas and Hot Tubs | 680.41 | 2 | 129
Equipment Rooms and Pits | 680.11 | 2 | 121
Feeders | 680.25 | 2 | 127
General | 680.3 | 2 | 129
General | 680.4 | 2 | 129
General | 680.5 | 2 | 131
GFCI Protection | 680.44 | 2 | 131
Ground-fault circuit interrupters | 680.32 | 2 | 129
Indoor Installations | 680.43 | 2 | 130
Junction Boxes | 680.24 | 2 | 126
Junction Boxes and Other Enclosures | 680.52 | 2 | 132
Luminaires, Submersible Pumps, and Other Submersible Equipment | 680.51 | 2 | 132
Methods of Grounding | 680.55 | 2 | 132
Motors | 680.21 | 2 | 121
Other Articles | 680.3 | 2 | 120
Other Electric Equipment | 680.71 | 2 | 133
Other Electrical Equipment | 680.72 | 2 | 133
Outdoor Installations | 680.42 | 2 | 129
Overhead Conductor Clearances. | 680.8 | 2 | 120
Protection | 680.7 | 2 | 133
Scope | 680.1 | 2 | 120
Signs In or Adjacent to Fountains | 680.57 | 2 | 132
Specialized Equipment | 680.27 | 2 | 128
Underground Wiring Location | 680.1 | 2 | 121
Underwater Luminaires | 680.23 | 2 | 125
Switchboards and Panelboards
Arrangement of Busbars and Conductors | 408.3 | 1 | 368
Circuit Identification | 408.4 | 1 | 368
Classification of Panelboards | 408.14 | 1 | 369
Grounded Conductor Terminations | 408.21 | 1 | 372
Grounding of Panelboards | 408.2 | 1 | 370
Number of Overcurrent Protection Devices | 408.15 | 1 | 369
Overcurrent Protection of Panelboard | 408.16 | 1 | 369
Scope | 408.1 | 1 | 368
Switches
Accessibility and Grouping | 404.8 | 1 | 356
Circuit Breakers Used as Switches | 404.11 | 1 | 357
Grounding | 404.12 | 1 | 357
Indicating | 404.7 | 1 | 356
Mounting Snap Switches | 404.1 | 1 | 357
Position of Knife Switches | 404.6 | 1 | 355
Rating and Use of Snap Switches | 404.14 | 1 | 357
Scope | 404.1 | 1 | 354
Switch Connections | 404.2 | 1 | 354
Switch Enclosures | 404.3 | 1 | 354
Switch Faceplates | 404.9 | 1 | 357
Switch Marking | 404.15 | 1 | 358
Wet Locations | 404.4 | 1 | 355
Temporary Installations
All Installations | 527.2 | 2 | 71
General | 527.4 | 2 | 71
GFCI Protection | 527.6 | 2 | 73
Scope | 527.1 | 2 | 71
Time Constraints | 527.3 | 2 | 71
Transformers
Overcurrent Protection | 450.3 | 1 | 415
Scope | 450.1 | 1 | 415
Transformer Accessibility | 450.13 | 1 | 416
Ventilation | 450.9 | 1 | 416
Transient Voltage Surge Suppressors (TVSSs)
Connection | 285.21 | 1 | 219
Definition | 285.2 | 1 | 218
Grounding | 285.25 | 1 | 219
Listing | 285.5 | 1 | 218
Location | 285.11 | 1 | 219
Number Required | 285.4 | 1 | 218
Routing of Connections | 285.12 | 1 | 219
Scope | 285.1 | 1 | 218
Short Circuit Current Rating | 285.6 | 1 | 218
Uses Not Permitted | 285.3 | 1 | 218
Underground Feeder and Branch-Circuit Cable (Type UF)
Ampacity | 340.8 | 1 | 289
Bends | 340.24 | 1 | 289
Definition | 340.2 | 1 | 289
Scope | 340.1 | 1 | 289
Uses Not Permitted | 340.12 | 1 | 289
Uses Permitted | 340.1 | 1 | 289
Use and Identification of Grounded (neutral) Conductor
Identification of Terminals | 200.1 | 1 | 48
Identification of the Grounded Conductor | 200.6 | 1 | 47
Polarity | 200.11 | 1 | 49
Scope | 200.1 | 1 | 46
Terminal Identification | 200.9 | 1 | 48
Use of White or Natural Gray Color | 200.7 | 1 | 48
Wiring Methods
Boxes or Conduit Bodies Required | 300.15 | 1 | 236
Conductors | 300.3 | 1 | 224
Ducts, Plenums, and Air-Handling Spaces | 300.22 | 1 | 241
Electrical Continuity | 300.1 | 1 | 232
Induced Currents in Metal Parts | 300.2 | 1 | 240
Inserting Conductors in Raceways | 300.18 | 1 | 239
Length of Free Conductors | 300.14 | 1 | 236
Mechanical Continuity | 300.12 | 1 | 234
Not Permitted in Raceways | 300.8 | 1 | 232
Panels Designed to Allow Access | 300.23 | 1 | 243
Protection Against Corrosion | 300.6 | 1 | 231
Protection Against Physical Damage | 300.4 | 1 | 226
Raceway Sizing | 300.17 | 1 | 237
Raceways Exposed to Different Temperatures | 300.7 | 1 | 231
Scope | 300.1 | 1 | 224
Securing and Supporting | 300.11 | 1 | 233
Splices and Pigtails | 300.13 | 1 | 234
Spread of Fire or Products of Combustion | 300.21 | 1 | 241
Supporting Conductors in Vertical Raceways | 300.19 | 1 | 239
Underground Installations | 300.5 | 1 | 228