Brendan, thank you so much for your response. I will not be in Pittsburgh in the near future, but if I do plan to submit a proposal to remove AFCI protection from the 2005 NEC , I will take the time to visit your lab and get all of the info first. But, until then, could you

1. Review the attached file and let me know if I have made any errors.

2. Tell me if your product (AFCI circuit breaker) is listed to clear an arcs at:

Loose wire connectors

Loose terminals on devices

Loose or poor contacts of attachment cords in receptacles

Loose or poor contacts in appliances

Overheating of appliances

3. Please tell me exactly what type of arc your product (AFCI circuit breaker) protects against and the conditions that would be required to create this arc.

4. Do you (CH) feel that a wiring method in a metal or nonmetallic raceway, or AC cable should be AFCI protected? Can you explain why a GFCI would not be suitable for this purpose?

5. Does your research indicate that arcs originate in bedroom circuits?

Brendan, I am a busy person and I would appreciate it if you would be honest with me and straight with your responses. Please provide me with refences that support any of your comments.

I have no personal interest pro or con in the application of AFCI's and I have not been contacted by any party or organization. This is just my own person concern and my concern it that I do not want the NEC to be used by manufactures to promote a product via the use of a NEC requirement, if the product does not do the things that the industry think it does or the things the manufacture promotes.

One final item, please send me all of the advertising literature CH has on this product. Before you send it to me, please review it. That way I know you reviewed it and agree 100% with your advertising and promotion literature. I want to be sure that when I go over your responses, studies, advertising material both of use will be prepared.

I hope you understand, I only want the facts and once I'm completely satisfied that this product does what it is advertised to do and it actually meets a need, then I will be the first to promote it virtues. I encourage you to get me informed as soon as you can so that I do not continue to let the industry know my concerns on this product.

Thank You